## Slide 1
A
B
C
D
Sample
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
(24)
(08)
(41)
(25)
(26)
(10)
(43)
(27)
(35)
(19)
(20)
(04)
#
- Row/Column
#
- Channel
(#)
- Wiring Pin
Wiring Color Code
A – Red
B – Black
C – Blue
D – Green
I – White
V – Yellow
Resistivity/Hall Effect Matrix Card Configuration – Keithley 7709
Hi
Lo
Hi
Lo
5
6
A
D
B
C
21
22
29
30
(28)
(12)
(45)
(29)

## Slide 2
Hall Effect Measurement Sequence
Current Off
Short Card – Close 17, 25, 26, 27, 28, 29, 30
Prepare Measurement – Close 18
Prepare Measurement – Open 17, 26, 27, 28
Current On, Delay, Measure Voltage
Current Reverse, Delay, Measure Voltage
Current Off
Short Card – Close 17, 26, 27, 28
Finish – Open 18

## Slide 3
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Hall Effect Measurement Sequence
Current Off
Short Card – Close 17, 25, 26, 27, 28
Prepare Measurement – Close 18
Prepare Measurement – Open 17, 26, 27, 28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Steps 1, 2
Step 3
Step 4

## Slide 4
Hall Effect Measurement Sequence
Current On, Delay, Measure Voltage
Current Reverse, Delay, Measure Voltage
Current Off
Short Card – Close 17, 26, 27, 28
Finish – Open 18
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Steps 5, 6, 7
Step 8
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Step 9

## Slide 5
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Resistivity Measurement Sequence – RAB, CD
Current Off
Short Card – Close 17, 25, 26, 27, 28
Prepare Measurement - Open 25, 27, 28
Current On, Delay, Measure Voltage
Current Reverse, Delay, Measure Voltage
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Steps 1, 2
Step 3
Steps 4, 5

## Slide 6
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Resistivity Measurement Sequence – RAB, CD
Current Off
Short Card – Close 25, 27, 28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Step 6
Step 7

## Slide 7
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Resistivity Measurement Sequence – RCD, AB
Current Off
Short Card – Close 17, 25, 26, 27, 28
Prepare Measurement – Close 18
Prepare Measurement – Open 17, 26, 27, 28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Steps 1, 2
Step 3
Step 4

## Slide 8
Resistivity Measurement Sequence – RCD, AB
Current On, Delay, Measure Voltage
Current Reverse, Delay, Measure Voltage
Current Off
Short Card – Close 17, 26, 27, 28
Finish – Open 18
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Steps 5, 6, 7
Step 8
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Step 9

## Slide 9
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Resistivity Measurement Sequence – RAC, BD
Current Off
Short Card – Close 17, 25, 26, 27, 28
Prepare Measurement – Close 19
Prepare Measurement – Open 17, 25, 26, 27
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Steps 1, 2
Step 3
Step 4

## Slide 10
Resistivity Measurement Sequence – RAC, BD
Current On, Delay, Measure Voltage
Current Reverse, Delay, Measure Voltage
Current Off
Short Card – Close 17, 25, 26, 27
Finish – Open 19
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Steps 5, 6, 7
Step 8
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Step 9

## Slide 11
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Resistivity Measurement Sequence – RBD, AC
Current Off
Short Card – Close 17, 25, 26, 27, 28
Prepare Measurement – Close 20
Prepare Measurement – Open 17, 25, 26, 28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Steps 1, 2
Step 3
Step 4

## Slide 12
Resistivity Measurement Sequence – RBD, AC
Current On, Delay, Measure Voltage
Current Reverse, Delay, Measure Voltage
Current Off
Short Card – Close 17, 25, 26, 28
Finish – Open 20
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Steps 5, 6, 7
Step 8
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Hi
Lo
Hi
Lo
Hi
Lo
Hi
Lo
1
2
3
4
3
4
Hi
Lo
Hi
Lo
A
B
C
D
A
C
B
D
I+
I-
V+
V-
17
18
25
26
19
20
27
28
Step 9